## Partner DataBase
GREENBUILDINGplus
|  | COMPANY INFORMATION |  |  |  |  | BUILDING INFORMATION |  |  |  | DIRECTOR INFORMATION | [5 empty] | REFERENCE INFORMATION | [5 empty] | ENERGY MANAGEMENT
Id | BUILDING NAME |  | COMPANY NAME | COMPANY HOMEPAGE | BUILDING ADDRESS - STREET, NUMBER, CAP, CITY | COMPANY COUNTRY |  | SHORT BUILDING IDENTIFICATION NAME | COMPANY ADDRESS - STREET, NUMBER, CAP, CITY | BUILDING COUNTRY |  | DIRECTOR OR PERSON AUTHORIZED TO SIGN FOR THE ORGANIZATION | FUNCTION | PHONE NUMBER | FAX NUMBER | E-MAIL |  | REFERENCE PERSON | FUNCTION | PHONE NUMBER | FAX NUMBER | E-MAIL |  | IS THERE AN EXPLICIT ENVIRONMENTAL POLICY? | COMMENT #1 | DOES THE ENVIRONMENTAL POLICY INCLUDE ENERGY CONSIDERATIONS? | COMMENT #2 | DO THE LONG TERM PROFITABILITY CRITERIA INCLUDE ENERGY CONSIDERATIONS? | COMMENT #3 | DO CONSTRUCTION AND RENOVATION PROCEDURES INCLUDE ENERGY CONSIDERATIONS? | COMMENT #4 | DOES THE INTERNAL DESIGN PROCEDURES INCLUDE ENERGY CONSIDERATIONS? | COMMENT #5 | DO THE PURCHASING AND SERVICE PROCEDURES INCLUDE ENERGY CONSIDERATIONS? | COMMENT #6 | DOES THE FACILITY MANAGEMENT PROCEDURE INCLUDE ENERGY CONSIDERATIONS? | COMMENT #7 | DOES THE COMPANY HAVE ANY MONITORING PLAN AND SPECIFIC DELIVERED ENERGY MEASUREMENTS? | COMMENT #8 | DOES THE COMPANY HAVE SPECIFIC ENERGY COSTS IN ITS ACCOUNTING? | COMMENT #9 | DOES THE COMPANY HAVE A SPECIFIC PERSON RESONSIBLE FOR THE ENERGY RELATED ISSUES? | COMMENT #10 | DO THE OPERATIONS AND MAINTENANCE INCLUDE ENERGY CONSIDERATIONS? | COMMENT #11
1 | 0 |  | 0 | 0 | - - - | 0 |  | 0 | - - - | 0 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DO NOT INSERT ROWS BELOW
Created by Salvatore Carlucci

## Building DataBase
GREENBUILDINGplus
|  | CANDIDATURE ITER | [5 empty] | CANDIDATE PARTNER |  |  | CANDIDATE BUILDING | [8 empty] | SITE & BUILDING INFORMATION | [14 empty] | BUILDING ENVELOPE | [28 empty] | HEATING SYSTEM BEFORE RENOVATION | [7 empty] | HEATING SYSTEM AFTER RENOVATION OR ACTUAL STATUS | [7 empty] | PRODUCTION OF SHW |  |  |  | COOLING SYSTEM BEFORE RENOVATION | [7 empty] | COOLING SYSTEM AFTER RENOVATION OR ACTUAL STATUS | [7 empty] | VENTILATION SYSTEM BEFORE RENOVATION |  |  |  | VENTILATION SYSTEM AFTER RENOVATION OR ACTUAL STATUS |  |  |  | ELECTRIC USES | [5 empty] | TRI/COGENERATION |  |  |  | RENEWABLE SOURCES | [18 empty] | DELIVERED ENERGY BY ENERGY CARRIER | [18 empty] | ENERGY PERFORMANCE OF BUILDING (Legal values or before renovation) | [6 empty] | ENERGY PERFORMANCE OF BUILDING (Actual building) | [12 empty] | PRIMARY ENERGY FROM RENEWABLES | [6 empty] | COSTS FOR ENERGY EFFICIENCY | [11 empty] | ENERGY SAVINGS MEASURES
Id | BUILDING NAME | NAME OF DOCUMENT #1 | NAME OF DOCUMENT #2 | NAME OF DOCUMENT #3 | NAME OF DOCUMENT #4 | NAME OF DOCUMENT #5 | NAME OF DOCUMENT #6 | COMPANY NAME | DIRECTOR OR PERSON AUTHORIZED TO SIGN FOR THE ORGANIZATION | BUILDING REFERENCE PERSON | COUNTRY | BUILDING ADDRESS - STREET, NUMBER, CAP, CITY | SHORT DESCRIPTION OF BUILDING & INTERVENTION (300 WORD) | ACTUAL TYPE OF USE | YEAR OF CONSTRUCTION | TYPE OF INTERVENT | YEAR OF RENOVATION | DAYS OF USE IN A YEAR | HOURS OF USE IN A DAY | CLIMATE ZONE ACCORDING TO M.METZGER, 2003 | TYPE OF SURROUNDING | ALTITUDE ABOVE SEA LEVEL (m) | LATITUDE | HEATING DEGREE DAYS (DD) | COOLING DEGREE DAY (DD) | HEATED NET FLOOR AREA BEFORE RENOVATION (m2) | COOLED NET FLOOR AREA BEFORE RENOVATION (m2) | LIGHTED NET FLOOR AREA BEFORE INTERVENTION (m2) | ELECTRIC EQUIPPED NET FLOOR AREA BEFORE INTERVENTION (m2) | HEATED NET FLOOR AREA AFTER RENOVATION OR NEW BUILDING (m2) | COOLED NET FLOOR AREA AFTER RENOVATION OR NEW BUILDING (m2) | LIGHTED/ELECTRIC EQUIPPED NET FLOOR AREA AFTER RENOVATION OR NEW BUILDING (m2) | HEATED NET VOLUME AFTER RENOVATION OR NEW BUILDING (m3) | HEATED GROSS VOLUME AFTER RENOVATION OR NEW BUILDING (m3) | AVERAGE U-value OF ROOF | AREA OF ROOF | AVERAGE U-value OF EXTERNAL WALL | AREA OF EXTERNAL WALL | AVERAGE U-value OF PARTITIONS AGAINST NOT HEATED SPACES | AREA OF PARTITION AGAINST NOT HEATED SPACES | AVERAGE U-value OF BASEMENT | AREA OF BASEMENT | U-value OF TYPE 1 WINDOWS (glazed system+frame+TB) | SHADING COEFFICIENT OF TYPE 1 WINDOWS (glazed system+shading) | VISIBLE TRANSMITTANCE OF TYPE 1 WINDOWS (%) | AREA OF TYPE 1 WINDOWS | PERCENTAGE OF TYPE 1 WINDOW AREA AGAINST TOTAL GLAZED AREA (%) | U-value OF TYPE 2 WINDOWS (glazed system+frame+TB) | SHADING COEFFICIENT OF TYPE 2 WINDOWS (glazed system+shading) | VISIBLE TRANSMITTANCE OF TYPE 2 WINDOWS (%) | AREA OF TYPE 2 WINDOWS | PERCENTAGE OF TYPE 2 WINDOW AREA AGAINST TOTAL GLAZED AREA (%) | U-value OF TYPE 3 WINDOWS (glazed system+frame+TB) | SHADING COEFFICIENT OF TYPE 3 WINDOWS (glazed system+shading) | VISIBLE TRANSMITTANCE OF TYPE 3 WINDOWS (%) | AREA OF TYPE 3 WINDOWS | PERCENTAGE OF TYPE 3 WINDOW AREA AGAINST TOTAL GLAZED AREA (%) | AVERAGE ENVELOPE U-VALUE (HT) (W/m2/K) | TOTAL LOSSING AREA (m2) | S/V RATIO (m2/m3) | CLASS OF AIRTHIGTNESS | DATA SOURCE FOR OPAQUE ENVELOPE DATA | DATA SOURCE FOR TRANSPARENT ENVELOPE DATA | TYPE OF USE OF THE HEATING PRODUCTION BEFORE RENOVATION | TYPE OF HEATING PRODUCTION SYSTEM BEFORE RENOVATION | AGE OF THE HEATING PRODUCTION SYSTEM BEFORE RENOVATION | NOMINAL HEATING POWER BEFORE RENOVATION (kW) | IF BOILER, NOMINAL GENERATION EFFICIENCY BEFORE RENOVATION | IF HEAT PUNP, NOMINAL COP BEFORE RENOVATION | INDOOR HEATING SETPOINT TEMPERATURE BEFORE RENOVATION (°C) | TYPE OF DATA ABOUT SETPOINT TEMPERATURE BEFORE RENOVATION | TYPE OF USE OF THE HEATING PRODUCTION ACTUAL STATUS | TYPE OF HEATING PRODUCTION SYSTEM ACTUAL STATUS | YEAR OF INSTALLATION OF THE HEATING SYSTEM | NOMINAL HEATING POWER ACTUAL STATUS (kW) | IF BOILER, NOMINAL GENERATION EFFICIENCY IN ACTUAL STATUS | IF HEAT PUNP, NOMINAL COP IN ACTUAL STATUS | INDOOR HEATING SETPOINT TEMPERATURE ACTUAL STATUS (°C) | TYPE OF DATA ABOUT SETPOINT TEMPERATURE ACTUAL STATUS | TYPE OF SYSTEM TO PRODUCE SHW BEFORE RENOVATION | NOMINAL HEATING POWER BEFORE RENOVATION (kW) | TYPE OF SYSTEM TO PRODUCE SHW ACTUAL STATUS | NOMINAL HEATING POWER ACTUAL STATUS (kW) | EXPLICIT COMFORT MODEL | STRATEGY TO REDUCE SOLAR HEAT GAIN BEFORE RENOVATION | COOLING STRATEGY BEFORE RENOVATION | TYPE OF COOLING PRODUCTION SYSTEM BEFORE RENOVATION | NOMINAL COOLING POWER BEFORE RENOVATION (kW) | SEASONAL ENERGY EFFICIENCY RATIO BEFORE RENOVATION (EER) | INDOOR COOLING SETPOINT TEMPERATURE BEFORE RENOVATION (°C) | TYPE OF DATA ABOUT SETPOINT TEMPERATURE BEFORE RENOVATION | EXPLICIT COMFORT MODEL | STRATEGY TO REDUCE SOLAR HEAT GAIN ACTUAL STATUS | COOLING STRATEGY ACTUAL STATUS | TYPE OF COOLING PRODUCTION SYSTEM ACTUAL STATUS | NOMINAL COOLING POWER ACTUAL STATUS (kW) | SEASONAL ENERGY EFFICIENCY RATIO ACTUAL STATUS (EER) | INDOOR COOLING SETPOINT TEMPERATURE ACTUAL STATUS (°C) | TYPE OF DATA ABOUT SETPOINT TEMPERATURE ACTUAL STATUS | TYPE OF VENTILATION | IF MECHANICAL VENTILATION, ACH RATE (h-1) | PRESENCE OF A HEAT RECOVERY | EFFICIENCY OF HEAT RECOVERY (%) | TYPE OF VENTILATION | IF MECHANICAL VENTILATION, ACH RATE (h-1) | PRESENCE OF A HEAT RECOVERY | EFFICIENCY OF HEAT RECOVERY (%) | YEARLY OPERATION HOURS BEFORE INTERVENTION (h/y) | INSTALLED ELECTRIC POWER FOR LIGHTING BEFORE INTERVENTION (W/m2) | YEARL OPERATION HOURS AFTER INTERVENTION (h/y) | INSTALLED ELECTRIC POWER FOR LIGHTING AFTER INTERVENTION (W/m2) | INSTALLED ELECTRIC POWER FOR ELECTRIC EQUIPMENT BEFORE INTERVENTION (W/m2) | INSTALLED ELECTRIC POWER FOR ELECTRIC EQUIPMENT AFTER INTERVENTION (W/m2) | Is there a TRIGENERATION OR COGENERATION SYSTEM? | TYPE OF COMBINED GENERATION SYSTEM | ELECTRIC EFFICIENCY (%) | HEAT EFFICIENCY (%) | IS THERE A SOLAR THERMAL PLANT? | TYPE OF COLLECTOR | ABSORBING AREA (M2) | NOMINAL EFFICIENCY | IS THERE A PHOTOVOLTAIC SYSTEM? | TYPE OF CELL | ABSORBING AREA (M2) | NOMINAL EFFICIENCY | POWER INSTALLED (KW) | IS THERE A GEOTHERMAL PLANT? | PLANT TYPOLOGY | POWER INSTALLED (KW) | IS THERE A BIOMASS GENERATION SYSTEM? | TYPE OF BIOMASS USED AS FUEL | POWER INSTALLED (KW) | IS THERE A WIND GENERATION SYSTEM? | POWER INSTALLED (KW) | IS THERE A HYDROELECTRIC GENERATION SYSTEM? | POWER INSTALLED (KW) | ELECTRICITY CONSUMPTION BEFORE RENOVATION (kWh) | FUEL CONSUMPTION BEFORE RENOVATION (kWh) | ELECTRICITY CONSUMPTION AFTER RENOVATION (kWh) | QUALITY OF DATA ENTERED FOR ELECTRICITY CONSUMPTION | FUEL CONSUMPTION AFTER RENOVATION OR ACTUAL STATUS (kWh) | QUALITY OF DATA ENTERED FOR FUEL CONSUMPTION | ELECTRICITY PRODUCTION FROM RENEWABLES AFTER INTERVENTION (kWh/y) | QUALITY OF DATA ENTERED FOR ELECTRICITY PRODUCED BY RENEWABLES | HEAT PRODUCTION FROM RENEWABLES AFTER INTERVENTION (kWh/y) | QUALITY OF DATA ENTERED FOR FUEL PRODUCED BY RENEWABLES | SPECIFIC ELECTRICITY CONSUMPTION AFTER RENOVATION OR ACTUAL STATUS (kWh/m2) | SPECIFIC FUEL CONSUMPTION AFTER RENOVATION OR ACTUAL STATUS (kWh/m2) | CONVERSION FACTOR FOR ELECTRICITY (delivered to primary energy ratio) | CONVERSION FACTOR FOR FUEL (delivered to primary energy ratio) | TOTAL PRIMARY ENERGY FROM ELECTRICITY AFTER RENOVATION (kWh/y) | TOTAL PRIMARY ENERGY FROM FUEL AFTER RENOVATION (kWh/y) | TOTAL PRIMARY ENERGY FROM RENEWABLES (kWh/y) | ENERGY SAVING PERCENTAGE WITH RENEWABLES | ENERGY SAVING PERCENTAGE WITHOUT RENEWABLES | PRIMARY ENERGY FOR HEATING BEFORE INTERVENTION OR LEGAL VALUE (kWh) | PRIMARY ENERGY FOR COOLING AND DEHUMIDIFICATION BEFORE INTERVENTION OR LEGAL VALUE (kWh) | PRIMARY ENERGY FOR VENTILATION AND HUMIDIFICATION BEFORE INTERVENTION OR LEGAL VALUE (kWh) | PRIMARY ENERGY FOR THE PRODUCTION OF SHW BEFORE INTERVENTION OR LEGAL VALUE (kWh) | PRIMARY ENERGY FOR LIGHTING BEFORE INTERVENTION OR LEGAL VALUE (kWh) | PRIMARY ENERGY FOR OTHER ELECTRIC USES BEFORE INTERVENTION OR LEGAL VALUE (kWh) | TOTAL PRIMARY ENERGY BEFORE INTERVENTION OR LEGAL VALUE (kWh) | ACTUAL PRIMARY ENERGY FOR HEATING (kWh) | QUALITY OF DATA ENTERED FOR HEATING | ACTUAL PRIMARY ENERGY FOR COOLING AND DEHUMIDIFICATION (kWh) | QUALITY OF DATA ENTERED FOR COOLING AND DEHUMIDIFICATION | ACTUAL PRIMARY ENERGY FOR VENTILATION AND HUMIDIFICATION (kWh) | QUALITY OF DATA ENTERED FOR VENTILATION AND HUMIDIFICATION | ACTUAL PRIMARY ENERGY FOR THE PRODUCTION OF SHW (kWh) | QUALITY OF DATA ENTERED FOR THE PRODUCTION OF SHW | ACTUAL PRIMARY ENERGY FOR LIGHTING (kWh) | QUALITY OF DATA ENTERED FOR LIGHTING | ACTUAL PRIMARY ENERGY FOR OTHER ELECTRIC USES (kWh) | QUALITY OF DATA ENTERED FOR ELECTRIC USE | TOTAL PRIMARY ENERGY IN ACTUAL BUILDING STATUS (kWh) | PRIMARY ENERGY GENERATED BY SOLAR THERMAL PLANT | PRIMARY ENERGY GENERATED BY PHOTOVOLTAIC PLANT | PRIMARY ENERGY GENERATED BY WIND GENERATOR SYSTEM | PRIMARY ENERGY GENERATED BY HYDOELECTRIC GENERATOR SYSTEM | TOTAL PRIMARY ENERGY FROM RENEWABLE | ENERGY SAVING PERCENTAGE WITH RENEWABLES | ENERGY SAVING PERCENTAGE WITHOUT RENEWABLES | EXTRA INVESTIMENT COST FOR HEATING | EXTRA INVESTIMENT COST FOR COOLING AND DEHUMIDIFICATION | EXTRA INVESTIMENT COST FOR VENTILATION AND HUMIDIFICATION | EXTRA INVESTIMENT COST FOR PRODUCTION OF SHW | EXTRA INVESTIMENT COST FOR LIGHTING | EXTRA INVESTIMENT COST FOR ELECTRIC USES | TECHNICAL LIFE FOR HEATING EQUIPMENT | TECHNICAL LIFE FOR COOLING AND DEHUMIDIFICATION EQUIPMENT | TECHNICAL LIFE FOR VENTILATION AND HUMIDIFICATION EQUIPMENT | TECHNICAL LIFE FOR SHW PRODUCTION EQUIPMENT | TECHNICAL LIFE FOR LIGHTING EQUIPMENT | TECHNICAL LIFE FOR ELECTRIC EQUIPMENT | TARGET SUB-SYSTEM_1 | TYPOLOGY OF ENERGY SAVING MEASURE_1 | SPECIFIC ACTIONS_1 | TARGET SUB-SYSTEM_2 | TYPOLOGY OF ENERGY SAVING MEASURE_2 | SPECIFIC ACTIONS_2 | TARGET SUB-SYSTEM_3 | TYPOLOGY OF ENERGY SAVING MEASURE_3 | SPECIFIC ACTIONS_3 | TARGET SUB-SYSTEM_4 | TYPOLOGY OF ENERGY SAVING MEASURE_4 | SPECIFIC ACTIONS_4 | TARGET SUB-SYSTEM_5 | TYPOLOGY OF ENERGY SAVING MEASURE_5 | SPECIFIC ACTIONS_5 | TARGET SUB-SYSTEM_6 | TYPOLOGY OF ENERGY SAVING MEASURE_6 | SPECIFIC ACTIONS_6 | TARGET SUB-SYSTEM_7 | TYPOLOGY OF ENERGY SAVING MEASURE_7 | SPECIFIC ACTIONS_7 | TARGET SUB-SYSTEM_8 | TYPOLOGY OF ENERGY SAVING MEASURE_8 | SPECIFIC ACTIONS_8 | TARGET SUB-SYSTEM_9 | TYPOLOGY OF ENERGY SAVING MEASURE_9 | SPECIFIC ACTIONS_9 | TARGET SUB-SYSTEM_10 | TYPOLOGY OF ENERGY SAVING MEASURE_10 | SPECIFIC ACTIONS_10 | TARGET SUB-SYSTEM_11 | TYPOLOGY OF ENERGY SAVING MEASURE_11 | SPECIFIC ACTIONS_11 | TARGET SUB-SYSTEM_12 | TYPOLOGY OF ENERGY SAVING MEASURE_12 | SPECIFIC ACTIONS_12 | TARGET SUB-SYSTEM_13 | TYPOLOGY OF ENERGY SAVING MEASURE_13 | SPECIFIC ACTIONS_13 | TARGET SUB-SYSTEM_14 | TYPOLOGY OF ENERGY SAVING MEASURE_14 | SPECIFIC ACTIONS_14 | TARGET SUB-SYSTEM_15 | TYPOLOGY OF ENERGY SAVING MEASURE_15 | SPECIFIC ACTIONS_15
1 | 0 | GreenBuilding Programme Application Tool (this file) | Signed Partner Registration Form | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | - - - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0% | 0% | 0 | 0% | 0 | 0% | 0% | 0 | 0% | 0 | 0% | 0% | 0 | 0% |  |  | Not evaluable | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Natural ventilation | None | 0 | None | Natural ventilation | None | 0 | None | 0 | 0 | 0 | 0 | 0 | 0 | No | 0 | 0% | 0% | No | None | None | None | No | None | None | None | None | No | None | None | No | None | None | No | None | No | None | None | None | None | None | None | None | None | None | None | None | None | None | None | None | None | None | None | None | None | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DO NOT INSERT ROWS BELOW
Created by Salvatore Carlucci

## ID DataBase
GREENBUILDINGplus
|  | Communication among the team members |  | ID Facilitator |  |  |  | Which are/were the stakeholders actually involved into the design team? | [9 empty] | Which disciplines have been included in the design team? | [21 empty] | Explicit objectives of the building design process | [9 empty] | Control strategies |  | Planning and schedulling design tools |  |  |  | Building Information Model Tools - BIM | [9 empty] | Design planning
Id | BUILDING NAME | Sharing information approach | Other | Was he/she appointed? | Surname, Name | Phone number | E-mail address | Architect | Constructor | Engineer | Future building manager | Interior designer | Landscape architect | Occupant | Operating staff | Owner | Other | Acoustical Engineering | Architecture | Architectural programming | Building physics | Civil/Structural/Seismic engineering | Commissioning | Cost estimation | Electrical engineering | Environmental engineering | Fire safety engineering | HVAC engineering | Information technologies engineering | Interior design | Historic Preservation | Landscape architecture | Lighting design | Mechanical engineering | Productivity | Space Planner | Surveying | Urban planning | Other | Aesthetics | Accessibility | Cost-effectiveness | Energy efficiency | Functionality | Historic preservation | Productivity | Security/Safety | Sustainability | Other | Have Quality Assurance and Control Plan been set? | Has a responsible been identified for each design phase? | Gantt chart | PERT and/or CPM | Building Process Manag. (BPM) | Building Information Model (BIM) | Architecture composition | Structural sizing | Building sistem syzing (MEP) | Construction management | Facility management | Architecture composition | Structural sizing | Building sistem syzing (MEP) | Construction management | Facility management | Initial planning phase - Beginning date | Competition phase (if applicable) - Beginning date | Concept design phase - Beginning date | Detailed design phase - Beginning date | Construction phase - Beginning date | Initial planning phase - End date | Competition phase (if applicable) - End date | Concept design phase - End date | Detailed design phase - End date | Construction phase - End date | Initial planning phase - Duration in day | Competition phase (if applicable) - Duration in day | Concept design phase - Duration in day | Detailed design phase - Duration in day | Construction phase - Duration in day | Initial planning phase - Estimed hours spent | Competition phase (if applicable) - Estimed hours spent | Concept design phase - Estimed hours spent | Detailed design phase - Estimed hours spent | Construction phase - Estimed hours spent
1 | 0 | 0 | none | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DO NOT INSERT ROWS BELOW
Created by Salvatore Carlucci

## Welcome
The European GreenBuilding Award
The GreenBuilding Integrated Design Award

## #1
1) GreenBuilding Programme Application Form
1.1) | Organization and building information | 1.2) | Reference people information
| Organization information |  | Director or person authorised to sign for the organization
| Organization name |  | Surname, Name
| Homepage address |  | Function
| Street and number |  | Phone number
| Area code and city |  | Fax number
| Country |  | E-mail
| Building information |  | GreenBuilding manager appointed by the organization
| Building name |  | Surname, Name
| Short building idetification name |  | Function
| Street and number |  | Phone number
| Area code and city |  | Fax number
| Country |  | E-mail
1) Instructions & notes
(0) | Requirements in red are compulsory.

## #2
2) Building Information
2.1) | Documentation submitted to the JRC or NCP |  |  | 2.2) | Information about climate and site
| GreenBuilding Programme Application Tool (this file) |  |  |  | Climate zone
| Signed Partner Registration Form |  |  |  | Type of surrounding
Altitude above sea level(1) (m)
Latitude(1) (XX.XX)
Heating Degree Days(2) (DDh)
Cooling Degree Days(2) (DDc)
2.3) | Information about intervention and use of the building |  |  | 2.4) | Dimensional information on the building in final status or after renovation
| Actual type of use |  |  |  | Heated floor surface type(3) | Net to Gross ratio
| Year bin of construction |  |  |  | Heated floor area (m2)
| Type of intervention (and type of baseline) |  |  |  | Cooled floor surface type(3) | Net to Gross ratio
| Year of renovation(4) |  |  |  | Cooled floor area (m2)
| Typical period of use | Days/Year | Hours/Day |  | Lighted/electric equipped floor surface type(3) | Net to Gross ratio
Lighted/electric floor area (m2)
Heated net volume (m3)
Heated gross volume (m3)
2.5) | Short description of the building and the intervention (maximum 1500 characters) | [5 empty] | Remaining characters: 1500
2) Instructions & notes
(0) | Requirements in red are compulsory.
(1) | "Altitude above sea level" and "Latitude" have to be entered according to Google Earth.
(2) | "Heating Degree Days" and "Cooling Degree Days" must be calculated throughut a web-based tool. Fullow the instructions:
1) open your browser (Explorer, Firefox, Netscape, Google Chrome, ...)
2) go to http://www.degreedays.net
3) chose the weather station
4) chose between heating or cooling
5) set the base temperature 18°C for heating, for cooling
6) set breakdown to average
7) set the period covered to last 2 years
8) push Generate Degree Days
9) the tool takes some seconds at the end, download a csv file
10) open the csv file and the total value is the number of degree days wanted.
(3) | "Surface floor type" might assume three values: Not present, Gross and Net
Not present - you have to chose this categoly if the corresponding energy use has not been calculated.
i.e. if a cooling plant is not present in your building, you don't have a demand of energy for cooling and so "Cooled floor surface type" must be set to "Not present"
If you have an evaluated demand of energy for heating, cooling or electricity you must enter floor area. Two types of floor area can be entered: Gross floor area and Net floor area.
Gross floor area - It includes total floor area of all floors including basements, mezzanines, penthouses, mechanical, electrical, and communications spaces, and enclosed loading
docks. It is measured from the exterior surfaces of all enclosing walls of the building.
Net floor area - It refers to those portions of the facility available for use for program operations and other necessary support functions. It is measured from the inside surface of the
enclosing walls of the building. Exterior walls, interior partitions, columns, structural members and plumbing chases are excluded from the net floor area.
If you enter Gross floor area you have to enter the "Net to Gross ratio". It is the expressed as the percentage of Net floor area to Gross flor area. Reference values follow under.
source: http://www.abor.asu.edu/1_the_regents/cost_control/chapter_two(A).pdf
The calculation of Net floor area garantees a more precise evaluation of energy performance of building.
(4) | To be entered only for renovations.
Climate zone

## #3
3) Building Envelope
3.1) | Thermal properties of opaque components in final status or after renovation(1)
| Roof | External walls | Basement |  | Partitions*
| Average(1) U-value (W/m2/K) | Average(1) U-value (W/m2/K) | Average(1) U-value (W/m2/K) |  | Average(1) U-value (W/m2/K)
| Area (m2) | Area (m2) | Area (m2) |  | Area (m2)
| Data souce for opaque envelope data |  |  |  |  | * "Partitions" is used to refer to all the walls which separe conditioned from unconditioned spaces.
3.2) | Thermal properties of transparent components in final status or after renovation(2)
| Type 1 window | Type 2 window | Type 3 window |  | Notes e clarifications
| Average U-value (W/m2/K) | Average U-value (W/m2/K) | Average U-value (W/m2/K) |  | Value to be refered to glazing + frame
| Solar factor, g (%) | Solar factor, g (%) | Solar factor, g (%) |  | Value to be refered to glazing + solar protectiong
| Visible transmittance (%) | Visible transmittance (%) | Visible transmittance (%)
| Area (m2) | Area (m2) | Area (m2)
| % of the whole glazed area | % of the whole glazed area | % of the whole glazed area
| Data souce for transparent envelope data |  |  | Class of air-thightness according to EN 12207
3.3) | SUMMARY
| Envelope U-value (W/m2/K) | Total lossing area (m2) | Gross heating volume (m3) |  | Shape ration (m2/m3) | Not evaluable
3) Instructions & notes
(0) | Requirements in red are compulsory.
(1) | Enter the surface weighted average U-value:
(2) | Primary energy required by single energy uses in final status in case of a new building or after renovation in case of an existing building.
> | Thermal trasmittance (U-value) is the heat flux density through 1 m2 of a given structure divided by the difference in environmental temperatures of 1 K on either side of the structure
in steady-state conditions.
> | U-value for opaque component of building envelope has to be calculated according to EN 6946.
> | U-value for transparent component (glazing + frame) of the building envelope has to be calculated according to EN 10077.
Therefore, the U-value for the whole unit is:
> | Solar Heat Gain Coefficient (SHGC) is the fraction of incident solar radiation admitted through a window, both admitted through a window, both directly transmitted, and absorbed and
subsequently released inward. The lower a window's solar heat gain coefficient, the less solar heat it transmits and the greater its shading ability.
> | Shading Coefficient (SC), or Solar factor, is the ratio of the SHGC of a certain glass to the SHGC of a baseline glass caracterized by a solar transmittance of 0,86 and a
solar assorbance (normal incidence) of 0,06 . The relationship between SC and SHGC is: SHGC = SC x 0,87.
> | Visible transmittance is a measure of the amount of visible light that passes through the glazing material of a window, door, or skylight. Visible light transmittance, or simply visible
transmittance (VT), is a fraction of the visible spectrum of sunlight (380 to 720 nanometers), weighted by the sensitivity of the human eye, which is transmitted through a window's, door's, or
skylight's glazing. A product with a higher VT transmits more visible light. VT is expressed as a number between 0 and 1.
> | Envelope U-Value is the heat loss coefficient of the building envelope, thus the average U-values of all components, opaque and transarent, of the buiding envelope weighted on single areas.
> | Shape ratio is the ratio of the whole heat loss area to heated volume.

## #4
4) Building Systems in Final Status or After Renovation
4.1) | Heating | 4.2) | Cooling
| Type of use of heating production |  | Thermal comfort model
| Type of heating production system |  | Strategy to reduce solar heat gains
| Year of installation of the heating system (a) |  | Cooling strategy
| Nominal heating power (kW) |  | Type of cooling production system
| If boiler, nominal generation efficiency |  | Nominal cooling power (kW)
| If heat pump, nominal COP |  | Seasonal Energy Efficiency Ratio
| Indoor heating setpoint temperature (°C) |  | Indoor cooling setpoint temperature(2) (°C)
4.3) | Production of sanitary hot water (SHW) | 4.4) | Mechanical ventilation system
| Type of production system |  | Has a ventilation system been provided?
| If autonomous, nominal power (kW) |  | If yes, please specify the ach (h-1)
Has an heat recovery unit been provided?
If yes, please specify its efficiency (%)
4) Instructions & notes
(0) | Requirements in red are compulsory. Please, fill in just data about installed or planned systems.
(1) | Primary energy required by single energy uses in the final status in case of a new building or after renovation in case of an existing building.
(2) | If adaptive comfort model has been explicited, enter in the "Indoor cooling setpoint temperature" cell ND and in the "Type of temperature" Adaptive comfort model.
Note on L20: Please, leave it blanck, if the cells L8:N8 is "Adaptive"

## #4a (hidden)
4) Building Systems Before Renovation
4.5) | Heating |  |  | 4.6) | Cooling
| Type of use of heating production |  |  |  | Comfort model
| Type of heating production system |  |  |  | Strategy to reduce solar heat gains
| Age of the heating production system (a) |  |  |  | Cooling strategy
| Nominal heating power (kW) |  |  |  | Type of cooling production system
| If boiler, nominal generation efficiency |  |  |  | Nominal cooling power (kW)
| If heat pump, nominal COP |  |  |  | Seasonal Energy Efficiency Ratio
| Indoor heating setpoint temperature (°C) |  |  |  | Indoor cooling setpoint temperature(1) (°C)
| Heated floor surface type |  | Net to Gross ratio |  | Cooled floor surface type |  | Net to Gross ratio
| Heated floor area (m2) |  |  |  | Cooled floor area (m2)
| Heated floor area (m2) filled in Sheet #2 | 0 |  |  | Cooled floor area (m2) filled in Sheet #2 | 0
4.7) | Production of sanitary hot water (SHW) |  |  | 4.8) | Mechanical ventilation system
| Type of production system |  |  |  | Has a ventilation system been provided?
| Nominal heat power (kW) |  |  |  | If yes, please specify the ach (h-1)
Has an heat recovery unit been provided?
If yes, please specify its efficiency (%)
D.bis) Instructions & notes
(0) | Requirements in red are compulsory ¦ Fill in just data about installed or planned systems
(1) | If adaptive comfort model has been explicited, enter in the "Indoor cooling setpoint temperature" cell ND and in the "Type of temperature" Adaptive comfort model.
Note on N20: Please, leave it blanck, if the cells L8:N8 is "Adaptive"

## #5
5) Electric installed power
5.1) | Lighting
| To fill in ONLY to describe the status before renovation |  | In final status or after renovation(1)
| Yearly operation hours (h/y) |  | Yearly operation hours (h/y)
| Installed electric power for lighting (W/m2) |  | Installed electric power for lighting (W/m2)
| Lighted floor surface type(2) | Net to Gross ratio
| Lighted floor area (m2) |  | Lighted net floor area (m2)
5.2) | Electric equipment(3) inside heated and/or cooled spaces
| To fill in ONLY to describe the status before renovation |  | In final status or after renovation(1)
| Installed electric power for equipment (W/m2) |  | Installed electric power for equipment (W/m2)
| Electric equipped floor surface type(2) | Net to Gross ratio
| Electric equipped floor area (m2) |  | Electric equipped net floor area (m2)
5) Instructions & notes
(0) | Requirements in red are compulsory ¦ Fill in just data about installed or planned systems.
(1) | Primary energy required by single energy uses in final status in case of a new building or after renovation in case of an existing building.
(2) | "Surface floor type" might assume three values: Not present, Gross and Net
Not present - you have to chose this categoly if the corresponding energy use has not been calculated.
i.e. if a cooling plant is not present in your building, you don't have a demand of energy for cooling and so "Cooled floor surface type" must be set to "Not present".
If you have an evaluated demand of energy for heating, cooling or electricity you must enter floor area. Two types of floor area can be entered: Gross floor area and Net floor area.
Gross floor area - It includes total floor area of all floors including basements, mezzanines, penthouses, mechanical, electrical, and communications spaces, and enclosed loading
docks. It is measured from the exterior surfaces of all enclosing walls of the building.
Net floor area - It refers to those portions of the facility available for use for program operations and other necessary support functions. It is measured from the inside surface of the
enclosing walls of the building. Exterior walls, interior partitions, columns, structural members and plumbing chases are excluded from the net floor area.
Only if you enter Gross floor area you have to enter the "Net to Gross ratio". It is the expressed as the percentage of Net floor area to Gross flor area. Reference values follow under.
source: http://www.abor.asu.edu/1_the_regents/cost_control/chapter_two(A).pdf
The calculation of Net floor area garantees a more precise evaluation of energy performance of building.
(2) | Electric equipment is refered to electric appliances (e.g. computers, TVs, printers, ...) inside the thermal zone.

## #6
6) Special Plant Systems in Final Status or After Renovation
6.1) | Solar thermal collectors | 6.2) | Photovoltaic array
| Is there a solar thermal collectors? |  | Is there a photovoltaic array?
| If yes, specify the absorbing area (m2) |  | If yes, specify the absorbing area (m2)
| If yes, specify the type of collector |  | If yes, specify the type of cell
| If yes, specify nominal efficiency (%) |  | If yes, specify nominal efficiency (%)
If yes, specify the installed power (kW)
6.3) | Geothermal system | 6.4) | Biomass system
| Is there a geothermal system? |  | Is there a biomass boiler?
| If yes, specify its typology |  | If yes, specify the type of biomass
| If yes, specify the installed power (kW) |  | If yes, specify the installed power (kW)
6.5) | Wind generators | 6.6) | Combined Heat and Power (CHP) system
| Is there a wind generation system? |  | Is there a CHP system?
| If yes, specify the installed power (kW) |  | If yes, specify its typology
If yes, efficiency for electricity (%)
If yes, efficiency for heat (%)
6.7) | Hydroelectric generators
Is there a hydroelectric system?
If yes, specify the installed power (kW)
6) Instructions & notes
(0) | Requirements in red are compulsory.
(1) | Primary energy required by single energy uses in final status in case of a new building or after renovation in case of an existing building.

## #7a
7) Energy Summary Based on Legal Values
7.1) | Primary energy balance of the building
| Primary Energy (PE) disaggregation according to EN 15603 |  | In final status(1) or after renovation | Legal values(2) | Percentage savings(4) |  | Source of data
| PE for heating | (kWh/a) | [5 empty] | 0 | 0
| PE for cooling & dehumidification | (kWh/a) | [5 empty] | 0 | 0
| PE for ventilation & humidification | (kWh/a) | [5 empty] | 0 | 0
| PE for SHW production | (kWh/a) | [5 empty] | 0 | 0
| PE for lighting | (kWh/a) | [5 empty] | 0 | 0
| PE for other electric uses | (kWh/a) | [5 empty] | 0 | 0
| PE for all uses | (kWh/a) | [5 empty] | 0 | 0 | 0
| Equivalent Primary Energy (ePE) generated by renewables(3) |  | In final status(1) or after renovation | PRIMARY ENERGY SUMMARY |  |  |  | 0 | 0
| ePE generated by solar thermal collectors | (kWh/a) |  | Sum of PE according to legal values |  | (kWh/a) | 0
| ePE generated by photovoltaic arrays | (kWh/a) |  | Total PE in final status or after renovation |  | (kWh/a) | 0
| ePE generated by wind generators | (kWh/a) |  | Total ePE by renewables |  | (kWh/a) | 0
| ePE generated by hydroelectric generators | (kWh/a)
|  |  |  | Energy saving percentage including renewables(4) |  | (%)
|  |  |  | Energy saving percentage without renewables(4) |  | (%)
0
0
0
0
7) Instructions & notes
(0) | Requirements in red are compulsory.
(1) | Primary energy required by single energy uses in final status in case of a new building or after renovation in case of an existing building.
(2) | Enter legal values according National legislation: in some countries there are legal values specified for any energy use, in others only a total primary energy limit for all uses.
(3) | It is possible to enter the single contribution of geothermal and biomass plants
The contributions of geothermal and biomass plants have to be considered into the calculation of energy need for the specific energy use (heating, cooling, production of warm water, ... )
Example 1: the energy need required to heat a certain building is 1000 kWhEN. A geothermal plant with an average seasonal COP of 3,5 delivers the needed thermal energy.
The electric delivered energy required by the geothermal plant to satisfy the energy need is 1000kWhEN / 3,5 = 286 kWhDE. If the delivered to primary energy conversion factor
for electricity is 2,5, the primary energy consumption required to keep warm the building is 286 kWhDE * 2,5 = 715 kWhPE.
Example 2: energy need required to heat a certain building is 1000 kWhEN. A geothermal plant with an average seasonal COP of 3,5 delivers the 70% of the whole thermal energy required (1000 kWhEN *0,7 = 700 kWhEN). The rest (1000 kWhEN *0,3 = 300 kWhEN) is produced through a boiler with an average seasonal efficiency of 80%. Electric delivered energy required by the geothermal plant is 700 kWhEN / 3,5 = 200 kWhDE,electricity, while fuel delivered energy required by the boiler is 300 kWhEN / 0,80 = 375 kWhDE,fuel. If the delivered to primary energy conversion factor for electricity is 2,5, primary energy consumed by the geothermal plant is 200 kWhDE * 2,5 = 500 kWhPE. If the delivered to primary energy conversion factor for fuel is 1,1, primary energy consumed by the boiler is 375 kWhDE * 1,1 = 412,5 kWhPE. So the whole consumption of primary energy is 500 kWhPE + 412,5 kWhPE = 912,5 kWhPE.
(4) | A positive number indicates that energy consumption has been reduced, while a negative number means that energy consumtion has been increased.
In final status(1) or after renovation
| PE for heating | #DIV/0! | 0
| PE for cooling & dehumidification | #DIV/0! | 0
| PE for ventilation & humidification | #DIV/0! | 0
| PE for SHW production | #DIV/0! | 0
| PE for lighting | #DIV/0! | 0
| PE for other electric uses | #DIV/0! | 0
0
|  |  | PEC in final status or after renovation | Net PEC in final status or after renovation | Legal values by end uses |  | Sum of legal values
| PE for heating |  | 0 |  | 0
| PE for cooling & dehumidification |  | 0 |  | 0
| PE for ventilation & humidification |  | 0 |  | 0
| PE for SHW production |  | 0 |  | 0
| PE for lighting |  | 0 |  | 0
| PE for other electric uses |  | 0 |  | 0
| ePE generated by solar thermal collectors |  | 0
| ePE generated by photovoltaic arrays |  | 0
| #REF! |  | #VALUE!
| #REF! |  | #VALUE!
| ePE generated by wind generators |  | 0
| ePE generated by hydroelectric generators |  | 0
| Total Primary Energy |  |  | 0 |  |  | 0

## #7b (hidden)
7) Energy Summary based on Previous Consumption
7.1) | Delivered energy summary
| Delivered energy disaggregated by energy carrier |  | Consumption metered after renovation | Consumption metered before renovation | Savings in percentage | Data source
| Electric consumption | (kWh/a)
| Fuel consumption | (kWh/a)
| Electricity production from renewables | (kWh/a)
| Heat production from renewables | (kWh/a)
| Net electric consumption/lighted net floor area | (kWh/m2a) | 0 | 0
| Net fuel consumption/heated net floor area | (kWh/m2a) | 0 | 0
7.1) | Primary energy summary
| Primary energy disaggregated by energy carrier |  | Primary energy after renovation | Primary energy before renovation | Type of energy carrier | Conversion factors (Delivered-to-primary-energy ratio)
| Total primary energy from electricity | (kWh/a) | 0 | 0 | Electricity | 0.4
| Total primary energy from fuel | (kWh/a) | 0 | 0 | Fuel (natural gas) | 1
| Total primary energy from renewables | (kWh/a) | 0
| Energy saving percentage including renewables | (%) | 0%
| Energy saving percentage without renewables | (%) | 0%
7) Instructions & notes
(0) | Requirements in red are compulsory
| Total primary energy after renovation | 0
Primary energy after renovation
| Electricity | #DIV/0!
| Fuel (natural gas) | #DIV/0!

## #8
8) Measures & Costs
8.1) | Energy saving measures(1)
|  | Building sub-system | Typology of energy saving measure |  |  | Specific energy saving action
1
2
3
4
5
6
7
8
9
10
11
12
13
14
15
8.2) | Extra investiment cost for energy efficiency |  |  | 8.3) | Average technical life
| for heating equipment (€) |  |  |  | for heating equipment (y)
| for cooling/dehumidification equipment (€) |  |  |  | for cooling/dehumidification equipment (y)
| for ventilation/humidification equipment (€) |  |  |  | for ventilation/humidification equipment (y)
| for SHW production equipment (€) |  |  |  | for SHW production equipment (y)
| for lighting equipment(€) |  |  |  | for lighting equipment (y)
| for electric equipment (€) |  |  |  | for electric equipment (y)
8) Instructions & notes
(1) | Please, first select the building sub-system, secondly the typology of energy saving measure, finally the specific energy saving action.

## #9
9) Energy Management
9.1) | Policy
Is there an explicit environmental policy? Please, specify.
Does the environmental policy include energy considerations? Please, specify.
Do the long term profitability criteria include energy considerations? Please, specify.
9.2) | Design and construction
Do construction and refurbishment procedures include energy considerations? Please, specify.
Does the internal design procedure include energy considerations? Please, specify.
9.3) | Component and system choice
Do the purchasing and service procedures include energy considerations? Please, specify.
Does the facility management procedure include energy consideration? Please, specify.
9.4) | Operation and manteinance
Does the company have any monitoring plan and specific energy measurements? Please, specify.
Does the company have specific energy costs in its accounting? Please, specify.
Does the company have a person responsible for energy-related issues? Please, specify.
Do operations and maintenance practices include energy considerations? Please, specify.
I) Instructions & notes
(0)

## #ID1
10) Integrated Design Work Team
10.1) | Communication among team members
| Sharing information approach | Please specify
10.2) | ID facilitator
| Was he/she appointed? | Surname, Name
| Phone number | E-mail address
10.3) | Which are/were the stakeholders actually involved into the design team?
| Architect | Landtscape architect
| Constructor | Occupant
| Engineer | Operating staff
| Future building manager | Owner
| Interior designer | Other, please specify
10.4) | Which disciplines have been included in the design team?
| Acoustical engineering | IT engineering
| Architecture | Interior design
| Architectural programming | Historic preservation
| Building physics | Landscape architecture
| Civil/Seismic engineering | Lighting design
| Commissioning | Mechanical engineering
| Cost estimation | Productivity
| Electrical engineering | Space planner
| Environmental engineering | Surveying
| Fire safety engineering | Urban planning
| HVAC engineering | Other, please specify
10) Instructions & notes
(0) | Requirements in red are compulsory.

## #ID2
11) Integrated Design Process
11.1) | Check the explicit objectives of the building design process
| Aesthetics |  |  |  | Historic preservation
| Accessibility |  |  |  | Productivity
| Cost-effectiveness |  |  |  | Secure/Safety
| Energy efficiency |  |  |  | Sustainability
| Functionality |  |  |  | Other, please specify
11.2) | Control strategies
| Have Quality Assurance and Control Plan been set? |  |  |  | Has a responsible been identified for each design phase?
11.3) | Have you adopted any of these planning and schedulling design tools?
| Gantt chart |  |  |  | Building Process Manag. (BPM)
| PERT and/or CPM(1) |  |  |  | Building Information Model (BIM)
11.4) | Have you adopted any of these Building Information Model Tools - BIM?
|  | Tool dimension |  |  | Tool name
| Architecture composition |  |  |  | Architecture composition
| Structural sizing |  |  |  | Structural sizing
| Building systems (MEP) |  |  |  | Building systems (MEP)
| Construction management |  |  |  | Construction management
| Facility management |  |  |  | Facility management
11.5) | Design planning
[20 empty] | x | y
|  | Beginning date | End date | Duration in day | Estimed hours spent(2) | [13 empty] | Initial planning | 0 | 0
[7 empty] | Duration (d) | Hours spent by the design team (h) | Initial planning |  | Competition |  | Concept design |  | Detailed design |  | Construction |  |  | 0 | 0
| Initial planning phase |  |  | 0 |  |  | 0 | 0 | x | y | x | y | x | y | x | y | x | y | Competition | 0 | 0
[6 empty] | Initial planning | 0 | 0 | 0 | 0 | [9 empty] | 0 | 0
| Competition phase (if applicable) |  |  | 0 |  | Competition | 0 | 0 | 0 | 0 | 0 | 0 | [6 empty] | Concept design | 0 | 0
[6 empty] | Concept design | 0 | 0 |  |  | 0 | 0 | 0 | 0 | [5 empty] | 0 | 0
| Concept design phase |  |  | 0 |  | Detailed design | 0 | 0 |  |  |  |  | 0 | 0 | 0 | 0 |  |  | Detailed design | 0 | 0
[6 empty] | Construction | 0 | 0 | [6 empty] | 0 | 0 | 0 | 0 |  | 0 | 0
| Detailed design phase |  |  | 0 | [12 empty] | 0 | 0 | Construction | 0 | 0
[20 empty] | 0 | 0
| Construction phase |  |  | 0
11) Instructions & notes
(1) | PERT is an acronym for Program Evaluation and Review Technique; CPM ia an acronym for Critical Path Method. Both are project management techniques, which have been developed to plan, schedule and control complex projects.
(2) | Please, specify the total number of hours spent by all members of the design team to develop each design phase.

## a_Action Plan
Action Plan
Organisation name and address
Building name and address
Building type
Building description
Year bin of construction
Year of renovation
Type of intervention (baseline)
Main dimensional data of the building |  | Heated net floor area | 0
|  | Cooled net floor area | 0
| Heated net volume: Not specified | Lighted net floor area | 0
Heated gross volume: Not specified
S/V ratio: Not evaluable
Main energy saving measures
Page 1 of 2
Action Plan
Baseline for the 25% saving target defined by national laws
Method for calculation of energy savings
Reporting on the success of the measures
Recommendation
Page 2 of 2
Print Action Plan

## b_Action Plan (hidden)
Action Plan
Organisation name and address
Building name and address
Building type
Building description
Year bin of construction
Year of renovation
Type of intervention (baseline)
Main dimensional data of the building |  | Heated net floor area | 0
|  | Lighted net floor area | 0
Heated net volume: Not specified
Heated gross volume: Not specified
S/V ratio: Not evaluable
Main energy saving measures
Page 1 of 2
Action Plan
Baseline for the 25% saving target
Method for calculation of energy savings
Reporting on the success of the measures
Primary energy saving percentage including renewables: 0 %.
Recommendation | The present project does not fulfils the GreenBuilding criterion to get the partnership.
Page 2 of 2
Print Action Plan

## 2_Energy saving measures
ENERGY SAVINGS MEASURES
MEASURES
N_M_Cat
Building envelope
Heating system
Cooling system
Lighting
Electric equipment
Management
Building envelope | Changing/Installation: type of glazing | N_M_BuiEnv
Building envelope | Changing/Installation: type of frame
Building envelope | Improving insulation of envelope components
Building envelope | Reducing unwanted solar heat gains
Building envelope | Modifying geometry
Heating system | Selection of energy efficient product | N_M_HeaSys
Heating system | Optimisation of the regulation
Heating system | Improvement of the heating supply system
Cooling system | Chiller circuit and control | N_M_CooSys
Cooling system | Motors and fans
Cooling system | Design & Sizing
Cooling system | Decentralised system
Cooling system | System based on water distribution
Cooling system | System with circulation of refrigerant
Cooling system | Equipment for air handling AS1 Central Free cooling
Cooling system | Systems with water and air AWS1 Improved control of classic system
Cooling system | Systems with water loop
Cooling system | Alternative Equipment strategies E1 District or block cooling
Lighting | Selection of energy efficient lamps | N_M_Lig
Lighting | Connecting devices
Lighting | Improvement of luminaires
Lighting | Control Systems
Lighting | Design
Electric equipment | Selection of energy efficient equipment | N_M_EleEqu
Electric equipment | Selection of energy efficient devices
Electric equipment | User specific saving potentials
Management | Behaviour | N_M_Man1
Management | Maintenance
Building envelope | Changing/Installation: type of glazing | Clear double glazed unit (6mm float + 12mm air + 6mm float) | N_M_ChaTypGla
| Changing/Installation: type of glazing | Heat mirror double glazed unit (6mm float + 12mm air + 6mm “low-e coated” glass)
| Changing/Installation: type of glazing | Heat mirror double glazed unit (6mm float + 16mm argon + 6mm “low-e coated” glass)
| Changing/Installation: type of glazing | Solar control double glazed unit “soft coating” (6mm spectral selective + 16mm argon + 6mm float)
| Changing/Installation: type of glazing | Solar control double glazed unit “hard coating” (6mm spectral selective + 12mm air + 6mm float)
| Changing/Installation: type of glazing | Triple glazed unit (6mm low-e glass + 16mm argon + 6mm float glass + 16mm argon + 6mm low-e glass)
| Changing/Installation: type of frame | Aluminum with thermal break | N_M_ChaTypFra
| Changing/Installation: type of frame | Plastic
| Changing/Installation: type of frame | Wood
| Improving insulation of envelope components | Localisation and elimination of thermal bridges | N_M_ImpInsEnv
| Improving insulation of envelope components | Improving insulation of opaque building envelope
| Improving insulation of envelope components | Improving insulation of opaque external walls
| Improving insulation of envelope components | Improving insulation of opaque external roofs
| Improving insulation of envelope components | Improving insulation of the ground floor
| Improving insulation of envelope components | Improving insulation of transparent components of building envelope
| Improving insulation of envelope components | Improving insulation of vertical windows or/and transparent façades
| Improving insulation of envelope components | Improving insulation of skylights
| Improving insulation of envelope components | Addition of a new envelope
| Reducing unwanted solar heat gains | By installation of movable shading devices | N_M_RedSolHeaGai
| Reducing unwanted solar heat gains | By installation of permanent shading devices
| Reducing unwanted solar heat gains | By installation of solar control glazing
| Modifying geometry | Reducing "lossing surface"/"Heated volume" rate | N_M_ModGeo
| Modifying geometry | Reducing transparent/opaque rate
Heating system | Selection of energy efficient product | Installation of a low temperature boiler or a condensing boiler | N_M_SelEneEffPro
| Selection of energy efficient product | Installation of well dimensioned heating pumps with power regulation
| Selection of energy efficient product | Installation of thermostatic radiator valves
| Optimisation of the regulation | Installation thermostatic valves | N_M_OptReg
| Optimisation of the regulation | Outdoor-temperature regulation
| Optimisation of the regulation | Improvement of regulation at secondary supply system
| Optimisation of the regulation | Limitation of hot water circulation pump by timer
| Optimisation of the regulation | Activation of night-drawdown
| Optimisation of the regulation | Activation of weekend-drawdown
| Improvement of the heating supply system | Insulation of supply system in the basement | N_M_ImpHeaSupSys
| Improvement of the heating supply system | Reducing the temperature of the hot water boiler
| Improvement of the heating supply system | Improvement of hydraulic system
| Improvement of the heating supply system | Optimise the division of the heating circuits
Cooling system | Chiller circuit and control | Optimisation of cost/efficiency at full load (some threshold on accepted EER) | N_M_ChiCirCon
| Chiller circuit and control | Optimisation of cost/efficiency at part load
| Chiller circuit and control | Stable cold source at good temperature (river, aquifer)
| Chiller circuit and control | Multi-speed strategies & swept volume control
| Chiller circuit and control | Variable speed strategies
| Chiller circuit and control | Improved effectiveness of the tower, selection of fillings flow rates
| Chiller circuit and control | Optimal loading of stages
| Chiller circuit and control | Sharing of load among chillers & loading of chillers (when various)
| Chiller circuit and control | Optimal control of cooling tower for low auxiliaries and lowest cost effective condensing temperature
| Chiller circuit and control | Free cooling integrated into the chiller
| Chiller circuit and control | Reduction of power of cooling tower under a simpler form than CH9
| Motors and fans | Motor Eff. 2 | N_M_MotFan
| Motors and fans | Motor Eff. 1
| Motors and fans | Selection of fans characteristic curves and the pressure control
| Motors and fans | Improved local tangential ventilator
| Motors and fans | Improved fans on condensers, AHU
| Motors and fans | Better filters, Classic option in design
| Motors and fans | Less pressure drop in all parts
| Motors and fans | Variable speed
| Motors and fans | Feasibility of local stopping of each electrical motor
| Motors and fans | Feasibility of central stopping of each electrical motor by BEMS
| Design & Sizing | Decentralised system banned over a certain limit | N_M_DesSiz
| Design & Sizing | Over-sizing banned, some under-sizing acceptable
| Design & Sizing | Quality of the service of "sizing"
| Design & Sizing | Optimisation of multi-zone sizing & prohibition of cold & hot mixing
| Design & Sizing | Sizing by full plant simulation
| Design & Sizing | Careful organisation of set points and control dead bands since design
| Design & Sizing | Automatic adjustment of pressures planned from design
| Decentralised system | Local Free cooling | N_M_DecSys
| Decentralised system | Changing control setpoints (temperature, humidity)
| Decentralised system | Reversibility (local heat pump)
| Decentralised system | Optimisation of cost/efficiency at full load (some threshold on accepted EER)
| System based on water distribution | Control on the returns at 7/12 | N_M_SysBasWatDis
| System based on water distribution | Moving to 8/14 on departure
| System based on water distribution | Moving to 8/16 on departure
| System based on water distribution | Variable temperature on departures
| System based on water distribution | Variable temperature on returns
| System based on water distribution | Circuiting of chillers, “decoupling”, variable speed in distribution
| System based on water distribution | Improved pumps
| System based on water distribution | Pipes insulation reinforced
| System based on water distribution | Less head losses, use of surfactants
| System based on water distribution | Better control of FCU
| System based on water distribution | Cold ceilings/ Beams/ Slabs
| System based on water distribution | Reversibility
| System based on water distribution | Water side free cooling
| System with circulation of refrigerant | Optimisation of cost/efficiency at full load (some threshold on accepted EER) | N_M_SysCirRef
| System with circulation of refrigerant | Local free cooling
| System with circulation of refrigerant | Reversible MS
| System with circulation of refrigerant | Moving to the VRF (compression benefits) in MS
| System with circulation of refrigerant | Optimal distribution of flows by electronic unit in VRF
| System with circulation of refrigerant | Reversible behaviour of the VRF 2 pipes
| System with circulation of refrigerant | Reversible behaviour of the VRF 3 pipes
| System with circulation of refrigerant | Changing control setpoints (temperature, humidity)
| Equipment for air handling AS1 Central Free cooling | Smaller percentage of outside air | N_M_EquUTA
| Equipment for air handling AS1 Central Free cooling | Variable air volume (VAV)
| Equipment for air handling AS1 Central Free cooling | Better fans in AHU
| Equipment for air handling AS1 Central Free cooling | Application of EUROVENT specifications for AHUs (more insulation, ...)
| Equipment for air handling AS1 Central Free cooling | Cost effective AHU
| Equipment for air handling AS1 Central Free cooling | Optimised blowing temperature (10-16 °C)
| Equipment for air handling AS1 Central Free cooling | Quality of the moisture control system (critical for energy consumption)
| Equipment for air handling AS1 Central Free cooling | Correction of the poor multi-zone efficiency of air systems
| Equipment for air handling AS1 Central Free cooling | Sensor of occupancy and other “demand controlled” ventilation
| Equipment for air handling AS1 Central Free cooling | Central heat/cold Recovery within the HVAC system
| Equipment for air handling AS1 Central Free cooling | Prohibition and successive cooling & reheating
| Equipment for air handling AS1 Central Free cooling | Ducts insulation and leakage limitation
| Equipment for air handling AS1 Central Free cooling | Existence of an A/C stopping & controlling possibility in each zone
| Equipment for air handling AS1 Central Free cooling | Ventilation should be in cascade among rooms
| Equipment for air handling AS1 Central Free cooling | Reversibility by use of the same chiller as a heat pump
| Equipment for air handling AS1 Central Free cooling | Recovery of heat for DHW
| Systems with water and air AWS1 Improved control of classic system | Ejector improved allowing blowing temperature at 18°C | N_M_SysWatAir
| Systems with water and air AWS1 Improved control of classic system | Cold ceilings/Beams/Slabs + additional system by air
| Systems with water and air AWS1 Improved control of classic system | “Displacement” equipment
| Systems with water and air AWS1 Improved control of classic system | Reversibility
| Systems with water loop | Optimisation of cost/efficiency at full load (some threshold on accepted EER) | N_M_SysWatLoo
| Alternative Equipment strategies E1 District or block cooling | Absorption or mixed strategies | N_M_AltEquStr
| Alternative Equipment strategies E1 District or block cooling | Cool storage
| Alternative Equipment strategies E1 District or block cooling | Use of condenser to heat domestic hot water (DHW)
| Alternative Equipment strategies E1 District or block cooling | Evaporative cooling
| Alternative Equipment strategies E1 District or block cooling | Desiccant cooling
| Alternative Equipment strategies E1 District or block cooling | Natural cooling from cooling tower (free-chilling)
Lighting | Selection of energy efficient lamps | Fluorescent lamps replacing incandescent lamps | N_M_SelEneEffLam
| Selection of energy efficient lamps | Fluorescent lamps replacing inefficient fluorescent lamps
| Connecting devices | Electronic ballasts replacing magnetic ballasts | N_M_ConDev
| Improvement of luminaires | Aluminium reflectors replacing white painted reflectors | N_M_ImpLum
| Improvement of luminaires | Introduction of luminaires with light direction, reducing the number of luminaires needed
| Improvement of luminaires | Improving older luminaires by replacing diffusers or prismatic panels with reflector systems
| Control Systems | Introduction of occupancy linking controls | N_M_ConSys
| Control Systems | Introduction of time scheduling controls
| Control Systems | Introduction of daylight responsive controls
| Design | ‘Localized lighting’, e.g. of work places | N_M_Des
Office equipment | Selection of energy efficient equipment | Notebook replacing desktop PC | N_M_SelEneEffEqu
| Selection of energy efficient equipment | LCD monitors replacing CRT
| Selection of energy efficient equipment | Multi-function devices replacing separate single-function devices
| Selection of energy efficient equipment | Centralised printer replacing personal printer
| Selection of energy efficient devices | Use of Energy-Star criteria | N_M_SelEneEffDev
| Selection of energy efficient devices | Use of GEEA criteria
| Selection of energy efficient devices | Hard switch
| Selection of energy efficient devices | Power management configuration
| User specific saving potentials | Initiate power management | N_M_UseSpeSavPot
| User specific saving potentials | Use of switchable multiway connector
Management | Behaviour | Free dress code | N_M_Beh
| Behaviour | Turning off the thermostat valves
| Behaviour | Increasing awareness on airing methods
| Behaviour | Replace screensaver by standby/sleep mode
| Maintenance | Regular cleaning of luminaires | N_M_Man
| Maintenance | Replacement of aged lamps with insufficient luminace
| Maintenance | Recording energy consumption
| Maintenance | Monitoring energy consumption with a BEMS
| Maintenance | Obligation to install a device allowing to measure temperature in each zone
| Maintenance | Optimisation of the change of the filters
| Maintenance | Cleaning of condensing coils
| Maintenance | Cleaning of evaporating coils
| Maintenance | Optimal scheduling of M4-M6
| Maintenance | Fine tuning of controls, namely through BEMS
| Maintenance | Fault detection systematic thanks to BEMS
| Maintenance | Contract of controlled service (which criterion?)
| Maintenance | Performance Contracting
| Maintenance | Balancing planned in design
| Maintenance | Operation manual written by designer and transferred to operator

## 3_Data collection
DATA COLLECTION
COUNTRIES
Austria
Belgium
Bulgaria
Cyprus
Czech Republic
Denmark
Estonia
Finland
France
Germany
Greece
Hungary
Iceland
Ireland
Italy
Latvia
Liechtenstein
Lithuania
Luxembourg
Malta
Netherlands
Norway
Poland
Portugal
Romania
Slovakia
Slovenia
Spain
Sweden
United Kingdom
BUILDING TYPE OF USE
Office
Culture: cinema
Culture: cultural centre, party hall, theatre, etc.
Culture: museum and art gallery
Culture: library
Culture: church
Retail trade: small shop
Retail trade: shopping mall, supermarket, ...
Accommodation group: hotel
Accommodation group: restaurant, pub, casino, ...
Housing: housing for students
School: primary and secondary (4-18 year)
School: university and college (>18 year)
Sport: sport hall
Sport: swimming pool
Sport: swimming pool and sport hall
Care: nursery / crèche
Care: rest home
Care: hospital and psychiatry
Care: prison
Other: industrial or agrarian buildings
Other: laboratories
Other: fire brigade
TYPE OF INTERVENTION
TYPE OF INTERVENTION
New building (legal value)
Complete renovation of existing building (legal value)
Renovation of existing building (consumption)
TYPE OF SUBMITTED DOCUMENTATION
TYPE OF SUBMITTED DOCUMENTATION
(P) Application form
(P) Energy audit
(P) Energy analysis
(P) Action Plan
(E) Promotion Plan
TYPE OF FLOOR AREA
TYPE OF FLOOR AREA
Not present
Net
Gross
RATIO NET/GROSS FLOOR AREA
RATIO NET/GROSS FLOOR AREA
50%
55%
60%
65%
70%
75%
80%
85%
90%
CLASS OF YEAR CONSTRUCTION
CLASS OF YEAR CONSTRUCTION
Previous 1919
1920-1944
1945-1959
1960-1969
1970-1979
1980-1989
1990-1999
2000-2004
2005-2010
After 2010
BUILDING ENVELOPE
TYPE OF GLAZING | Uc.o.g. W/(m2 K) | g | tv | LSG
(ext. pane / gas / int pane )
Clear Double Glazed Unit (6mm float + 12mm Air + 6mm float) | 2.6 | 75% | 81% | 1.1
Heat mirror Double Glazed Unit (6mm float + 12mm Air + 6mm “low-e coated” glass) | 1.5 | 58% | 71% | 1.2
Heat mirror Double Glazed Unit (6mm float + 16mm Argon + 6mm “low-e coated” glass) | 1.1 | 56% | 71% | 1.3
Solar control Double Glazed Unit “soft coating” (6mm spectral selective + 16mm Argon + 6mm float) | 1.1 | 31% | 54% | 1.7
Solar control Double Glazed Unit “hard coating” (6mm spectral selective + 12mm Air + 6mm float) | 2.6 | 46% | 48% | 1
Triple Glazed Unit (6mm low-e glass + 16mm Argon + 6mm float glass + 16mm Argon + 6mm low-e glass) | 0.6 | 36% | 62% | 1.7
TYPE OF FRAME | Uf W/(m2K)
Aluminum with thermal break | 3.5
Plastic | 2.5
Wood | 1.7
CLIMATE ZONES
ENVIRONMENTAL ZONES
Alpine North (ALN)
Boreal (BOR)
Nemoral (NEM)
Atlantic North (ATN)
Alpine South (ALS)
Continental (CON)
Atlantic Central (ATC)
Pannonian (PAN)
Lusitanian (LUS)
Anatolian (ANO)
Mediterranean Mountains (MDM)
Mediterranean North (MDN)
Mediterranean South (MDS)
TYPE OF SURROUNDING
Rural
Suburb
City
COMFORT
COMFORT MODELS
Not explicited
Fanger
Adaptive
LOCAL OR INDIVIDUAL ADAPTATION
No dress code
Low thermal resistance chairs
No dress code + Low thermal resistance chairs
Other …
TYPE OF SETPOINT TEMPERATURE
Air temperature | Air temperature
Operative temperature | Operative temperature
Adaptive comfort model
AIR TIGHTNESS
CLASS OF AIRTHIGTNESS (EN 12207)
Class 0
Class 1
Class 2
Class 3
Class 4
HEATING PLANT
TYPE OF USE OF THE HEATING PRODUCTION
Only heating
Heating + SHW
TYPE OF THE PRODUCTION SYSTEM
Methane boiler
Gas oil boiler
Electric boiler
Biomass boiler
Electric heat pump
District heating
Tri/Cogeneration plant
SHW PLANT
TYPE OF THE PRODUCTION SYSTEM
Not installed | Not installed
Autonomuos methane boiler | Combined methane boiler
Autonomous gas oil boiler | Combined gas oil boiler
Autonomous biomass boiler | Combined biomass boiler
Combined methane boiler
Combined gas oil boiler | Electric heat pump
Combined biomass boiler | District heating
Electric boiler | Tri/Cogeneration plant
Electric heat pump
Tri/Cogeneration plant
District heating
COOLING PLANT
STRAGETY TO REDUCE SOLAR HEAT GAINS
Not specified
Shading by fixed surrounding objects
Well sized external shading
Selective glazing (g<=0.5)
Mobile external shading without automatic controls
Mobile external shading with automatic controls
COOLING STRATEGY
Not specified
Not installed
Efficient room air-conditioners
Centralized mechanical cooling plant (EER<=4)
Centralized mechanical cooling plant (EER>4)
Active systems based on renewables
Passive systems
District cooling
Tri/Cogeneration
TYPE OF COOLING PRODUCTION SYSTEM
Air conditioner
Air-air heat pump
Air-water heat pump
Water-water heat pump
Ground source heat pump
District cooling
Trigeneration plant
RENEWABLE
TYPE OF SOLAR THERMAL COLLECTOR
Evacuated tube
Hot water collector with selective glazing
Hot water collector with clear glazing
Hot water collector without glazing
Hot air glazed collector
Other…
TYPE OF PV CELL
Mono crystalline silicon (Nom.Eff. ~ 16%)
Polycrystalline silicon (Nom.Eff. ~ 13%)
Micro-spherical silicon (Nom.Eff. ~ 10%)
Amorphous silicon (Nom.Eff. ~ 8%)
Other
TYPE OF BIOMASS USED AS FUEL
Bio-gas
Bio-oil fuel
Wood, Pellets, etc...
Other
TYPE OF GEOTHERMAL SYSTEMS
Vertical closed loop field
Horizontal closed loop field
Slinky closed loop field
Closed pond loop
Open loop systems
Other
TYPE OF COMBINED ENERGY GENERATION SYSTEMS
Cogenerator (Heat + Electricity)
Trigenerator (Heat + Electricity + Cool)
NUMBER OF ENERGY SAVINGS ACTIONS
NUMBER OF ENERGY SAVINGS ACTIONS
0
1
2
3
4
5
6
7
8
9
10
11
12
13
14
15
TYPE OF DATA
TYPE OF DATA FOR NEW BUILDINGS
Not available
Data from EN or national norm calculation
Data from dynamic simulation
TYPEOF DATA FOR RENOVATIONS
Not available
European or national standard/law
Dynamic simulation
Metering
TYPE OF DATA
DATA SOURCE FOR OPAQUE ENVELOPE
Estimation
Calculation according to EN or national standard
Specification from the producer
Field measurement
DATA SOURCE FOR TRANSPARENT ENVELOPE
Estimation
Calculation according to EN or national standard
Specification from the producer
Field measurement
RISPOSTA A DOMANDE
Yes
No
DESIGN GOALS -> N_DesGoal
Aesthetics
Accessibility
Cost-effectiveness
Energy efficiency
Functionality
Historic preservation
Productivity
Security/Safety
Sustainability
Other
TEAM COMPOSITION -> N_TeamComp
Architect
Constructor
Engineer
Future building manager
Interior designer
Landscape architect
Occupant
Operating staff
Owner
DISCIPLINES INVOLVED -> N_DiscInv
Acoustical Engineering
Architecture
Architectural programming
Building physics
Civil/Structural/Seismic engineering
Commissioning
Cost estimation
Electrical engineering
Environmental engineering
Fire safety engineering
HVAC engineering
Information technologies engineering
Interior design
Historic Preservation
Landscape architecture
Lighting design
Mechanical engineering
Productivity
Seismic engineering
Site engineering
Soils engineering
Space Planner
Surveying
Urban planning
Waste management
COMMUNICATION AMONG THE TEAM -> N_ComTeam
File sharing system
Collaborative software
Document management system
Other
METHOD FOR SHARING INFORMATION -> N_MetSharInfo
Emails
One-to-one phone calls
One-to-one teleconferences
Periodic collective meetings/teleconferences
ISO 9000 procedures
File hosting service (e.g. Dropbox, GoogleDrive, Skydrive etc.)
Other
PROCESS MANAGER TOOLS -> N_ProManTool
Gantt chart
Program Evaluation and Review Technique (PERT) and/or Critical Path Method (CPM)
Business process management (BPM) tools
Building information model (BIM) tool
BIM DIMENSION -> N_BimDim
2D: 2D-drawings
3D: 3D-drawings
4D: Time schedule
5D: Pricing
XD: Specialist analyses and simulations
BIM TOOLS -> N_BimTool
None
4M BIM Suite - IDEA Architecture
Archimen Groupe - Active 3d
Autodesk Inc - Autodesk ADT
Autodesk Inc - AutoCAD Architecture 2008
Autodesk Inc - Autodesk BIM 360
Autodesk Inc - NavisWorks
Autodesk Inc - Revit Suite
Bentley Systems Inc - Microstation
Bentley Systems Inc - Bentley Suite
BFRL - NIST CIS/2 to IFC Translator
Bocad Software GmbH - Bocad
CADSoft - Envisioneer
Cadwork informatik AG - Cadwork
Computers & Structures Inc - ETABS
Computers & Structures Inc - SAP2000
Data Design System ASA - Data Design System (DDS)
Gehry Technologies Inc - Digital Projects
Graitec Group - Advance Steel
Granlund Oy - Riuska
Granlund Oy - RYHTI FM
Graphisoft - ArchiCAD
IAI - IfcStoreyView
InfoGraph GmbH - InfoCAD
Ing.-Software Dlubal GmbH - RSTAB
Inter-CAD - AxisVM
Jidea Oy - ScaleCAD
Kymdata Oy - Kymdata CADS HEPAC and Electric
Nemetschek - ALLPLAN
Nemetschek - Scia ESA PT
Nemetschek - Vectorworks
Norconsult Informasjonssystemer AS - Calcus
Nosyko AS - dRofus
Octaga AS - Octaga
Onuma Inc - Onuma Planning System (OPS)
Progman Oy - MagiCAD
Roland Messerli AG Informatik - EliteCAD
Secom IS Lab - IFC2SKP Google SketchUp
Selvaag Group - Bluethink® House Designer
Softtech - SPIRIT
Solibri Inc - Solibri Model Checker
StruSoft AB - StruSoft
Tekla Corporation - Tekla Structures
TNO - IFC Engine Viewer
Vico Software Inc - Vico Suite
Virtual Build Technologies – RhinoBIM
Other
COST CALCULATION -> N_CostCalc
Estimation
Calculation
Note on A253: Salvatore Carlucci: A vertical closed loop field is composed of pipes that run vertically in the ground. A hole is bored in the ground, typically, 150 to 250 feet deep (45–75 m). Pipe pairs in the hole are joined with a U-shaped cross connector at the bottom of the hole. The borehole is commonly filled with a bentonite grout surrounding the pipe to provide a good thermal connection to the surrounding soil or rock to maximize the heat transfer. Vertical loop fields are typically used when there is a limited square footage of land available. Bore holes are spaced 5–6 m apart and are generally 15 m (50 ft) deep per kW of cooling. During the cooling season, the local temperature rise in the bore field is influenced most by the moisture travel in the soil. Reliable heat transfer models have been developed through sample bore holes as well as other tests.
Note on A254: Salvatore Carlucci: A horizontal closed loop field is composed of pipes that run horizontally in the ground. A long horizontal trench, deeper than the frost line, is dug and U-shaped coils are placed horizontally inside the same trench. A trench for a horizontal loop field will be similar to one seen under the slinky loop field; however, the width strictly depends on how many loops are installed. Horizontal loop fields are very common and economical if there is adequate land available.
Note on A255: Salvatore Carlucci: A slinky closed loop field is also installed in the horizontal orientation; however, the pipes overlay each other. The easiest way of picturing a slinky field is to imagine holding a slinky on the top and bottom with your hands and then move your hands in opposite directions. A slinky loop field is used if there is not adequate room for a true horizontal system, but it still allows for an easy installation. The pump is used to heat the house.
Note on A256: Salvatore Carlucci: A closed pond loop is not as common, but is becoming increasingly popular. A pond loop is achieved by placing coils of pipe at the bottom of an appropriately sized pond or water source. This system has been promoted by the DNR (Department of Natural Resources), who support geothermal systems and the use of ponds for geothermal systems. A pond loop is extremely similar to a slinky loop, except that it is attached to a frame and located in a body of water versus soil
Note on A257: Salvatore Carlucci: In contrast to the closed loop systems, an open loop system pulls water directly from a well, lake, or pond. Water is pumped from one of these sources into the heat pump, where heat is either extracted or added. The water is then pumped back into a second well or source body of water. There are three general types of systems: First water can be pumped from a vertical water well and returned to a nearby pond. Second, water can be pumped from a body of water and returned to the same body of water. Third, water can be pumped from a vertical well and then returned to the same well. While thermal contamination (where the ground temperature is affected by the operation of the system) is possible with any geothermal system, with proper design, planning, and installation any loop configuration can work very well for a very long time. Deep lake water cooling uses a similar process with an open loop for air conditioning and cooling. Open loop systems using ground water are usually much more efficient than closed systems because they will be heat exchanging with water always at ground temperature. Closed loop systems, in comparison, have to make do with the inefficient heat-transfer between the water flowing through the tubing and the ground temperature. One of the benefits of an open loop system is that for most configurations and depending on the local environment you are dealing with ground water at a constant temperature of about 50°F/10°C. In closed loop systems the temperature of the water coming in from the loop is often within 10°F/6°C of the temperature of the water entering the loop showing how little heat was exchanged. The constant ground water temperatures significantly improve heat pump efficiency.